Electrical Engineering Fundamentals for Facilities Engineers

About this Training Course:

This course applies fundamental electrical engineering principles to oil and gas facilities. The course is designed for Facilities Engineers who interface with electrical systems and provides practical insight and development of new Facilities Electrical Engineers. Through the use of individual and group problem solving, attendees will learn about power transformers, motors, generators, one-line diagram interpretation, protection and coordination of electrical equipment, site and standby generation, electrical safety, and hazardous areas identification. Participants will gain a better understanding of electrical power systems in oil and gas facilities.

### Who is this Training Course for?

Those facilities personnel who interface with facility electrical power systems, including project engineers, operation leads, instrumentation, controls personnel, and electrical engineers who are new to electrical power systems within oil and gas facilities.

### How will this Training Course be Presented?

Participants on this SHALE training course will receive a thorough training on the subjects covered by the course outline with the Tutor utilising a variety of proven adult learning teaching and facilitation techniques. Furthermore:

- Course manual

- PowerPoint presentations,

- Videos

- Competency assurance tests including pre-assessment and post-assessment tests

### Details of this Training Course

- Fundamental concepts of electricity including voltage, current, resistance, power, inductance, capacitance, and power factor

- The key components of facilities electric power distribution, which include circuit arrangements, low and medium voltage switchgear, and single-phase and three phase schemes

- Transformer operations, components, turns and voltage ratios, losses, efficiency, rating, and connections

- The difference between direct current, induction and synchronous current motors, motor enclosures, and how to select, start, protect, and control motors

- The principles of protecting electrical equipment, including time current curves, fuses, circuit breakers, and coordination

- The purposes and sizing criteria for backup power, including generators and UPS power systems

- The considerations and sizing criteria for on-site power generation, which includes standby, prime, peak, and co-generation

- What grounding and bonding systems are, with an overview of ignition sources, shock protection, separately derived systems, and substation grounding

- The concepts, terminology and application of hazardous area classification standards, equipment protection methods, and installation requirements for NEC and IEC projects

### Course content

Fundamentals of insulation and conduction
Direct current, alternating current
Transformers power and instrument
Motors induction and synchronous
Power distribution
System protection and coordination
Standby power systems
Power generation
Variable speed drive principles
Grounding, bonding, and electrical safety
Hazardous area identification